## no_regression
Test result number | Test Title | Final Status | Comment
DRE_DMX_UT_5000 | Coupling DEMUX/FPASIM simple test | PASS
DRE_DMX_UT_5002 | Coupling DEMUX/FPASIM simple test | PASS
DRE_DMX_UT_5003 | Coupling DEMUX/FPASIM simple test | PASS
DRE_DMX_UT_5004 | Coupling DEMUX/FPASIM simple test | PASS
DRE_DMX_UT_5005 | Coupling DEMUX/FPASIM simple test | PASS
DRE_DMX_UT_5006 | Coupling DEMUX/FPASIM simple test | PASS
DRE_DMX_UT_5007 | Coupling DEMUX/FPASIM simple test | PASS
DRE_DMX_UT_5008 | Coupling DEMUX/FPASIM simple test | PASS
DRE_DMX_UT_5009 | Coupling DEMUX/FPASIM simple test | PASS
DRE_DMX_UT_5010 | Coupling DEMUX/FPASIM simple test | PASS
DRE_DMX_UT_5011 | Coupling DEMUX/FPASIM simple test | PASS
DRE_DMX_UT_5012 | Coupling DEMUX/FPASIM simple test | PASS
DRE_DMX_UT_5013 | Coupling DEMUX/FPASIM simple test | PASS
DRE_DMX_UT_5014 | Coupling DEMUX/FPASIM simple test | PASS
DRE_DMX_UT_5015 | Coupling DEMUX/FPASIM simple test | PASS
DRE_DMX_UT_5016 | /
DRE_DMX_UT_5017 | Expertise ADC delay reference | PASS
DRE_DMX_UT_5018 | Expertise feedback delay | PASS
DRE_DMX_UT_5019 | Expertise offset delay | PASS
DRE_DMX_UT_5020 | AMP SQUID Pattern | PASS
DRE_DMX_UT_5021 | Expertise AMP SQUID V(Phi) | PASS
DRE_DMX_UT_5022 | Expertise MUX SQUID V(Phi)
DRE_DMX_UT_5023a | Test close loop MUX SQUID (make pulse) | NOT PASS | Flux jump due to a bad operating point
DRE_DMX_UT_5023b | Test close loop MUX SQUID (make pulse) | PASS
DRE_DMX_UT_5023c | Test close loop MUX SQUID (make pulseS) | NOT PASS | Some pixels didn't lock due to a pb in the dmx firmware (feedback integrator incorrectly initialized)
DRE_DMX_UT_5023d | Test close loop MUX SQUID (make pulseS and auto-relock) | PASS
DRE_DMX_UT_5024 | Checking delays | PASS
DRE_DMX_UT_5025 | Characterisation TES pulse | PASS
DRE_DMX_UT_5026 | Characterisation AMP SQUID TF | PASS
DRE_DMX_UT_5027 | Characterisation MUX SQUID TF-1 | PASS
DRE_DMX_UT_5028 | Characterisation MUX SQUID TF-2 | PASS
DRE_DMX_UT_5029 | Test of feedback algo, impact of A=0 | PASS
DRE_DMX_UT_5030a | Simulation of forward crosstalk with pulse shaping=1 and SAMPLING_DELAY=0x0008 | PASS | Crosstalk is observed
DRE_DMX_UT_5030b | Simulation of forward crosstalk with pulse shaping=1 and SAMPLING_DELAY=x000B | PASS | Crosstalk is observed
DRE_DMX_UT_5030c | Simulation of forward crosstalk with pulse shaping=1 and SAMPLING_DELAY=0x0012 | PASS | No crosstalk
DRE_DMX_UT_5030d | Simulation of forward crosstalk with pulse shaping=3 and SAMPLING_DELAY=0x0008 | PASS | Crosstalk is observed
DRE_DMX_UT_5030e | Simulation of forward crosstalk with pulse shaping=3 and SAMPLING_DELAY=0x000B | PASS | Crosstalk is observed
DRE_DMX_UT_5031a | Simulation with g_RA_DELAY=0 | PASS | RAS / DEMUX delay is not correct
DRE_DMX_UT_5031b | Simulation with g_RA_DELAY=1 | PASS | RAS / DEMUX delay is not correct
DRE_DMX_UT_5031c | Simulation with g_RA_DELAY=2 | PASS | RAS / DEMUX delay is not correct
DRE_DMX_UT_5031d | Simulation with g_RA_DELAY=3 | PASS | RAS / DEMUX delay is not correct
DRE_DMX_UT_5031e | Simulation with g_RA_DELAY=4 | PASS | RAS / DEMUX delay is not correct
DRE_DMX_UT_5031f | Simulation with g_RA_DELAY=5 | PASS | RAS / DEMUX delay is not correct
DRE_DMX_UT_5031g | Simulation with g_RA_DELAY=6 | PASS | RAS / DEMUX delay is not correct
DRE_DMX_UT_5032a | Simulation with g_RA_DELAY=6, g_ERROR_DELAY=0 | PASS | RAS / DEMUX delay is not correct
DRE_DMX_UT_5032b | Simulation with g_RA_DELAY=6, g_ERROR_DELAY=2 | PASS | RAS / DEMUX delay is correct